## Slide 1: Water Conservation in Your HOA
Reducing excessive irrigation without lowering landscape standards

## Slide 2: Water Is Typically the Largest Controllable Expense
Average HOA in North Texas
5-15 acres-maintained turf grass
10-20 entrance beds
$50,000-80,000 Annual Irrigation Utility Spend

## Slide 3: How Water Waste Usually Happens
Water waste is rarely dramatic. It usually comes from:
Overwatering for plant material
  Different plants have different watering needs
Pressure issues
  Too high
  Too low
Programming not adjusted seasonally
Minor leaks left unresolved or unrepaired

## Slide 4: Importance of the Irrigation Inspection
What It Establishes
Performance baseline
Zone-by-zone validation
Proper seasonal programming
Early identification of obvious waste
Proactive vs. Reactive Management
Why It Matters
Prevents overuse of resource
Aligns expectations
Reduces utility billing surprises
Sets accountability standard

## Slide 5: What a True Monthly Irrigation Inspection Includes
Run
Every active zone operated
Coverage observed
Review
Controller programming evaluated
Seasonal adjustments applied
Report
Issues documented
Repairs identified
Visibility provided

## Slide 6: Sample Irrigation Inspection Report

## Slide 7: Smart Controllers
What They Do
• Adjust for weather trends • Automate rain/freeze response • Provide remote visibility • Improve scheduling precision
What They Don’t Do
• Replace physical inspections • Fix mechanical issues • Prevent waste if not maintained
Technology supports water management — it doesn’t replace it.

## Slide 8: Case Study: Annual Irrigation Spend
49% Reduction (2022-2025)
Same property
Same footprint
No irrigation redesign
Chart: 
| 2022 | 2023 | 2024 | 2025
Annual Water Spend | 59143 | 36619 | 37000 | 29989

## Slide 9: 3-Year Financial Impact
$73,822
In projected irrigation savings expense over three seasons
Same acreage
Same irrigation system

## Slide 10: Water Savings Create Budget Flexibility
If $10,000+ per year is recovered, what it can fund?

## Slide 11: Tree Replacements

## Slide 12: Entry Enhancements

## Slide 13: Wall Repairs

## Slide 14: Amenity Centers

## Slide 15
Reserve Funds

## Slide 16: Water conservation is not about watering less. It’s about managing water intentionally.
Questions & Discussion

## Slide 17: Pressure Correction Case Study
What Was Done
Action Taken
Identified 3 high-pressure irrigation zones
Measured water usage over a 10-minute cycle
Installed pressure-regulated spray heads
Re-tested usage

## Slide 18: Pressure Correction Case Study
Financial Impact
Before (10 min cycle) 2,068 gallons
After (10 min cycle) 892 gallons
1,176 gallons saved per 10-minute cycle
If these zones run 3x per week:
≈ 21,000+ gallons saved per month
≈ 250,000+ gallons saved per year
Now convert to dollars conservatively:
At typical North Texas water rates:
≈ $2,000–$4,000 per year From just three zones